{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["封面","第一部分  市场调研内容","第二部分  资质证明附件"],"not_rendered":{"external_links":1,"defined_names":4},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封面","index":0,"n_rows":14,"n_cols":2,"rows_kept":14,"flags":["formulas_cached_only"]}
[]
[null," 惠州市第二人民医院"]
[null," 医疗设备维修调研文件"]
[null," "]
[null," "]
[null,"公司名称：                               "]
[null,"项目编号：                               "]
[null,"项目名称：                               "]
[null,"联 系 人：                               "]
[null,"联系手机：                               "]
[]
[]
[null,"                               2025年   月   日制作"]
[null," "]

{"sheet":"第一部分  市场调研内容","index":1,"n_rows":7,"n_cols":18,"rows_kept":7,"merged":[[0,0,0,17],[1,0,1,7],[1,15,1,17],[6,0,6,17]],"flags":["formulas_cached_only"]}
["医疗设备故障维修市场调研表"]
["公司名称（盖章）：",{"$nulls":13}," "," 年  月  日"]
["序号 代码","设备名称","资产码或sn码","申请科室","制造厂家 型号","数量","故障描述","需求","维修方案                          （尽可能详细填写）","质保期限\n（月）","维修报价（元）","报名公司","报价有效期（1年）","公司属性","公司地址","联系人","联系电话","公司邮箱"]
[1,"经颅磁刺激仪",32430810,"精神心理康复科","YRD CCY-I",1,"设备运行一分钟设备报警停止使用。","1.现场检修确认故障后，提供解决方案，维修好设备,能正常使用。\n2.质保期不少于3个月。     ",{"$nulls":5},"第三方/厂家/售后公司"]
[2,"经颅磁刺激仪",71148072,"精神心理康复科","YRD CCY-I","1","机身刺激拍线圈支架松动，无法固定，需更换全新线圈支架","1.现场检修确认故障后，提供解决方案，维修好设备,能正常使用。\n2.质保期不少于3个月。     ",{"$nulls":5},"第三方/厂家/售后公司"]
["以上报价有效期：1年，如果调整，重新报价。"]
["注意事项：\n1、一家公司递交一张调研表，主要配置内容必须在一个单元格内填写，如同时响应多台设备维修，请先填写在同一张调研询价表上。设备名称必须与公告的设备名称一致；每台设备详细维修方案及报价单另外提供附件（一式两份）。\n2、附件中的单台设备报价单内容需包含维修内容、维修报价、公司名称、地址，联系人姓名电话等（一式两份）；\n3、本表不允许合并/拆分单元格；\n4、以上字段均为必填项；\n5、报名表文件名应与邮件主题一致，即需注明“【XXX设备维修调研报名】+公司名称”，报名资料电子版文件命名要求“维修设备名称+公司名称”；"]

{"sheet":"第二部分  资质证明附件","index":2,"n_rows":6,"n_cols":1,"rows_kept":6,"flags":["formulas_cached_only"]}
["二、提交资料要求"]
["1.封面（项目名称、公司、联系人、联系电话等信息）；"]
["2.调研表（医疗设备维修调研询价表一式两份，同时附上单台设备维修报价单一式两份，单台设备报价单内容需包含维修内容，公司名称、地址，联系人姓名电话等）（加盖鲜章）；"]
["3.报名公司证件（复印件加盖鲜章）；"]
["4.医疗器械经营企业许可证或医疗器械生产企业许可证（复印件加盖鲜章），非医疗器械除外；营业执照经营范围具备维修资质。"]
["5.公司介绍（可包含具体服务方案、方案报价、广东省用户名单、相关工程师资质）；"]